EXPERIMENT NO.5

OBJECTIVE: To control the given 3-phase induction motor using inverter module and SCR AC regulator module with PC interface.
APPARATUS REQUIRED: 
1. PC based AC Motor control unit (Powercon Make)

2. Serial Link (both side female) cable

3. FAN-AC motor with 4 pin Jone’s Plug

4. Lamp – 230V, 25/40 W

5. PC with VB 6 and windows XP / win 98 system, serial ports COM-1 and COM-2 with 9 pin D type connectors

6. SOFTWARE CD- WITH VB PROGRAM –PRJLS.EXE

7. UNEARTHED C.R.O. with probes. 

[image: image1.emf]M

C

L

N

PC based AC Drive

S

A

S

B

S

C

S

D

S

E

S

F



[image: image2.emf]M

Phase R

Phase Y

Phase B


     THEORY:
       The various methods of speed control of an Induction Motor are as stated below:

1. Stator voltage control.

2. Variable voltage, variable frequency control

3. Rotor Resistance control

4. Slip power regulation


Among all above methods, the stator voltage control is the simplest. In this scheme, two thyristors are connected in anti-parallel configuration in each phase as shown in Fig.1. Speed control is obtained by varying the firing angle of the thyristors. The effective control takes place for π/2 < α <5π/6. For complete control, the trigger pulse width should be ‘π-α’ and not less than π/3.
[image: image3.png]s
[og

3 Phase Induction
Motor ~
3 Phase AC Supply
s
o—
s
o
Thyristorised Voltage

Controller




Fig. 1: Stator voltage control by Thyristorised Voltage Controller
PROCEDURE:
Step 1: Hardware connections

1. Connect MAINS cord to 230V ac.

2. Connect Motor to unit at Front Panel 4 pin connector.

3. Connect one end of Serial Cable to back panel of Unit.

4. Connect other end of Serial Cable to PC COM 1 or 2 whichever available. (Chose VB program CM1 or CM2 according to your connections).

5. Insert a 25 /40W lamp into Back panel holder.

6. Take a CRO without Earth PIN (UNEARTHED CRO OR POWERSCOPE) & connect a CRO Probe X10 mode to TP 10 – TP 11.

Step 2: Running program, commands and observations
1. Keep toggle switch on front panel in PC Control position.

2. Switch ON Mains.

3. Switch ON PC and RUN (double click) prjls.exe file. FORM-1 window appears.

4. Enter a number into ‘%O/P / firing angle’ window. It should be a number in 2 digits from 01 to 99.

5. Press ‘%O/P / firing angle’ Button.

6. Press” START” Button.

7. Observe motor speed, Lamp intensity and O/P waveforms on CRO.
8. Try to Put another value into o/p and see the effect. for this- ENTER No. PRESS ‘%O/P / firing angle’ and then press ‘START’.
OBSERVATION TABLE:
Motor Load
	OUTPUT

SET
	ACTUAL FIRING ANGLE

(OBSERVED ON C.R.O.)
	MOTOR VOLTAGE
V AC
	MOTOR CURRENT

I AC
	MOTOR SPEED
RPM

	99
	LIMITED TO MAX 
	
	
	

	80
	LIMITED TO MAX
	
	
	

	70
	LIMITED TO MAX
	
	
	

	60
	
	
	
	

	50
	
	
	
	

	40
	
	
	
	

	30
	
	
	
	

	20
	
	
	
	

	10
	
	
	
	


R  - LOAD – 40 W (MOTR DISCONNECTED)

	OUTPUT 

SET 
	ACTUAL FIRING ANGLE

(OBSERVED ON C.R.O.)
	VAC

	99
	LIMITED TO MAX 
	

	80
	LIMITED TO MAX
	

	70
	LIMITED TO MAX
	

	60
	
	

	50
	
	

	40
	
	

	30
	
	

	20
	
	

	10
	
	


CONCLUSION:
TEST POINTS DISCRIPTION:
	TEST POINT
	DESCRIPTION

	TP 1 WRT GND
	POT reference VTG 0 ~ 5VDC

	TP 2 WRT GND
	Soft Start – 0 ~ 10 VDC

	TP 3 WRT GND
	Error Amp –0 ~- 10 VDC

	TP 4 WRT GND
	Firing Command – 0 ~ 10Vdc

	TP 5 WRT GND
	NC

	TP 6 WRT GND
	Full Wave 12 V

	TP 7 WRT GND
	Ramp –12V, 10 m sec

	TP 8 WRT GND
	Firing pulse +/- 12Vdc

	TP 9 WRT GND
	Chopped Firing Pulse 12 V

	GND
	CONTROL CCT GROUND

	TP 10 WRT TP11
	MOTOR Voltage / Output voltage waveform (230V AC) 


5

_1374433372.vsd
M


C


L


N


PC based AC Drive


SA


SB


SC


SD


SE


SF



_1374433600.vsd
M


Phase R


Phase Y


Phase B



